Occupancy Inspection Report

# City of

Bellefontaine Neighbors, Mo.

9641 Bellefontaine Road; 63137

(314) 867-0076

Date: Expiration:

Inspector:

Single family ( ) Apartment Unit ( ) Commercial ( )

| Building Address | Occupied ( ) Vacant ( ) | ## Utilities: On ( ) Off ( ) |
| --- | --- | --- |
| Owner | Address | Phone |
| Real Estate | Address | Phone |

| Occupants Allowed | No. rooms 1ST floor | Bath | No. Bedrooms | Construction: MASON ( ) FRAME ( ) SIDING ( ) |
| --- | --- | --- | --- | --- |
| Garage | No. Rooms basement | Bath - | %AREA FINISHED | Heating system: GAS ( ) OTHER ( ) AGE _______ |
|  | Other floor | Bath | No. Bedrooms | Air conditioner: CENTRAL ( ) WINDOW ( ) AGE___ |

| Bedroom sizes | Bedroom 1 | Bedroom 2 | Bedroom 3 | Bedroom 4 |
| --- | --- | --- | --- | --- |

The following are not in compliance with the Property Maintenance Code:

##### Exterior Painting

1             2               3                                            Areas that need to be scraped and painted are:

|  |  |  | Rusty fencing, both surfaces |
| --- | --- | --- | --- |
|  |  |  | Basement windows frames Rear ( ) Sides ( ) |
|  |  |  | Basement window screens frames Rear ( ) Sides ( ) |
|  |  |  | Gutters |
|  |  |  | Gutter boards ( ) Fascia ( ) |
|  |  |  | Wrought iron railing (including underside) |
|  |  |  | Wood windows as needed ( ) and re-putty as needed ( ) |
|  |  |  | #### Ductwork on roof |
|  |  |  | #### Roof Turbines |
|  |  |  | #### Awnings |
|  |  |  | #### Siding |
|  |  |  | Garage Door |
|  |  |  | Yard Light—Repair ( ) Repaint ( ) |
|  |  |  | Wood Trim |

##### Concrete

|  |  |  | Repair concrete foundation |
| --- | --- | --- | --- |
|  |  |  | #### Cement Caulk or cement patch concrete driveway and cover with sand (Meramec) |
|  |  |  | Replace driveway |
|  |  |  | Replace Sidewalk Side ( ) Rear ( ) Front ( ) |

Carpentry

|  |  |  | #### Elbows on Downspouts |
| --- | --- | --- | --- |
|  |  |  | Provide Handrail: Wrought Iron ( ) Pipe ( ) Wood ( ) |
|  |  |  | 5/8” Drywall type X Fire Code Fire Taped 1 coat needed at Garage Wall ( ) Garage Ceiling ( ) |
|  |  |  | Replace cracked windows at - House ( ) Basement ( ) |
|  |  |  | Replace key turn dead bolt with thumb turn dead bolt |
|  |  |  | #### Smoke alarms needed: Upstairs ( ) Bedroom ( ) Basement ( ) |
|  |  |  | Carbon monoxide detectors needed: Upstairs ( ) Basement ( ) |
|  |  |  | Provide Roof Certification |
|  |  |  | Tuck-Pointing |
|  |  |  | Install combination or screen door at rear and front entry |
|  |  |  | Rake up leaves and dispose of in paper bags |

##### Mechanical

|  |  |  | Metal pressure release valve piping has to be same size and extend within 6” of floor at hot water heater |
| --- | --- | --- | --- |
|  |  |  | Gas valve shut off needed at: Hot Water Heater ( ) Furnace ( ) Dryer ( ) Stove ( ) |
|  |  |  | Solid gas piping needed at: Furnace ( ) Hot Water Heater ( ) |
|  |  |  | Screw all fittings at flue pipe at: Furnace ( ) Hot Water Heater ( ) |
|  |  |  | #### Replace flue at: Furnace ( ) Hot Water Heater ( ) |
|  |  |  | #### A Spire “House Sale” Inspection w/Documentation stating that all gas appliances are in good working order is required. A Spire “Safety Inspection” without Documentation is not sufficient. |
|  |  |  | #### Provide metal flex dryer vent pipe |
|  |  |  | #### Provide lock at A/C disconnect box. This is a security suggestion only, not a code requirement. |
|  |  |  | #### Clean out dryer vent pipe |
|  |  |  | #### Provide anti-tip device at stove |

##### Electrical

| Present Service Size: |  |  |  | Interior Service Size: | Exterior Service Size: |
| --- | --- | --- | --- | --- | --- |
|  |  |  | 100 amp service required |  |  |
|  |  |  | Operative GFI needed at: Garage ( ) Bathroom ( ) Kitchen ( ) Basement ( ) Exterior ( ) |  |  |
|  |  |  | #### Garbage disposal needs electrical connector at base |  |  |
|  |  |  | Provide solid faceplate at kitchen soffit outlet |  |  |
|  |  |  | All electrical wiring on walls of garage need to be run in metal conduit or Greenfield |  |  |
|  |  |  | Provide 2-prong outlet at all ungrounded 3-prong or label “No Equipment Ground” |  |  |
|  |  |  | Exhaust fan needed: Kitchen ( ) Upstairs Bathroom ( ) Basement Bathroom ( ) |  |  |

##### Plumbing

|  |  |  | Remove plastic water lines |
| --- | --- | --- | --- |
|  |  |  | Faucets need washers |
|  |  |  | Plumbing drain defective |
|  |  |  | Replace 4” plumbing stack Need licensed plumber & permit from St. Louis County |
|  |  |  | Replace 2” plumbing stack Need licensed plumber & permit from St. Louis County |
|  |  |  | Repair plumbing stack with epoxy soil pipe mender make convex patch |
|  |  |  | Install shut off valves at faucets |
|  |  |  | Install shut off valves at water closet |
|  |  |  | Install metal fire stopping at 4” furnace flue with tight fit and use fire caulk if needed |
|  |  |  | Install metal fire stopping at 4” plumbing stack with tight fit and use fire caulk if needed |
|  |  |  | Install metal fire stopping at tub piping with tight fit and use fire caulk if needed |
|  |  |  | Replace pitted drain piping |

##### Remarks

__________________________________________________________________________________________ __________________________________________________________________________________________ __________________________________________________________________________________________ __________________________________________________________________________________________

THIS BUILDING INSPECTION REPORT IS NOT A PERFORMANCE INSPECTION.  THE ISSUING OF THE VISUAL INSPECTION OR THE CERTIFICATE OF OCCUPANCY DOES NOT IN ANY WAY GUARANTEE OR WARRANTY TO ANY ONE AS TO THE CONDITION OF THE PROPERTY STRUCTURE, EQUIPMENT OR PREMISES, NOR DOES THE CITY OF BELLEFONTAINE NEIGHBORS ASSUME ANY LIABILITIES IN THE INSPECTION AND COMPLIANCE THEREWITH.

“TO CODE’ MATERIAL AND WORKMANSHIP MUST BE DONE ACCORDING TO RELATED ORDINANCES AND TRADE STANDARDS.

CONTACT THE BUILDING DEPARTMENT UPON COMPLETION OF THE PREDICATIONS LISTED IN ORDER THAT A REINSPECTION CAN BE MADE TO ACERTAIN THAT EVERYTHING IS IN COMPLIANCE.  PLEASE HAVE THE ABOVE PREDICATIONS CORRECTED WITHIN 180 DAYS OF THIS REPORT.

I WAS PRESENT FOR THE INSPECTION / REINSPECTION AND RECEIVED A COPY OF THE REPORT.  AS OWNER / AGENT, I AGREE TO INFORM THE BUYER / TENANT THAT AN OCCUPANCY PERMIT IS REQUIRED BEFORE MOVING IN.